Customer Frequently Asked Questions:

- Why do I need an ATP monitoring system?

If you are a food production or distribution facility, you know how difficult it is to ensure that the surfaces on which food comes into contact are clean. If you’re not using an ATP system, chances are you or someone else is simply doing a visual examination of the surface to determine whether it’s clean. The problem with this approach is that it’s subjective, two people could look at the surface and come to two different conclusions, and visual inspections can not always detect food residue. Biofilms, in particular, are a real danger to a visual inspection system since they often go undetected and can shield harmful bacteria from cleaning methods.

If you’re using another method, such as microbiological monitoring for coliforms and other indicator organisms, you know how long it takes to get your result. In most cases, you’re finding out tomorrow or the day after that your production line was dirty today. At that point, there’s nothing you can do to correct for today’s problem. The real advantage of an ATP system is it’s immediacy of results. You can find out in a matter of seconds that a particular surface is not ready for production. So your crew can clean it right now and production can start immediately thereafter.

- What is the relationship between the RLU reading I get with my ATP system and the level of bacteria on the surface I’m sampling?

It is important to understand that an ATP monitoring system is detecting the level of ATP on a surface. That ATP may be from food residue, bacteria, yeast, mold or, most likely, some combination of the above. So, while it is true that the more bacteria that are present on a surface, the more ATP will be reported, in reality, there will never be ONLY bacteria on the surface. There has to be some nutrient for the bacteria to grow and that nutrient contains ATP. To complicate the matter further, there are different levels of ATP in different cells on the surface. Yeast, for example, contains 100 times the ATP of a typical Coliform bacteria. Somatic cells contain 3000 times as much ATP as yeast. So, if you get a reading with a certain value that number may represent a few yeast cells, a lot of bacteria and some food residue. Or, it may contain a whole lot of bacteria and a little food residue. There’s no way of knowing for sure.

The other complicating issue is the difference in reporting for microbiological quality standards relative to ATP monitoring. Most often, we’re reporting bacteria counts by the number of colony forming units (CFU’s). A single CFU may actually house five cells. Each of those cells contain ATP so this would be the equivalent of five units of ATP. Or, the single CFU could contain 20 cells which would relate to 20 units of ATP.

- So, what’s the point of an ATP system if all I care about is bacterial contamination?

While ATP monitoring systems are not direct indicators of bacterial or spoilage organism presence, they are the fastest and most convenient method for determining the POTENTIAL for these organisms to exist on your food contact surface. There is simply no faster or easier way to know that you COULD have a problem. And with the ability to make that determination immediately, they allow you to correct the issue before it becomes a serious problem.

Relative to microbiological sampling, ATP monitoring can be performed by relatively unskilled employees. You don’t need a microbiologist to perform the test. And microbiological sampling is very specific. You need separate tests for coliforms, Listeria, general E. coli, etc.

The other significant advantage you gain with the implementation of this system is the assurance to others that you are employing a scientifically-based, consistent sanitation monitoring program. Many customers use it to assure their customers that they’re receiving the highest level of food quality possible. Many of our customers tell us that they have obtained new business as a result of the implementation of this program.

- How do I determine where I need to sample?

You’re looking for points in your operation that are particularly susceptible to this potential problem. Where are the areas in your facility that food residue tends to collect? Most likely, you know where these areas are now. You simply need to incorporate their testing into a formal sampling plan. Your sales representative can help you with this.

- How do I establish my pass / marginal and fail levels?

Here again, your sales representative can help you with this. Our experience has shown that most people establish their own values for what is and is not clean. This usually requires a sampling of typical cleaning results compared to extensive or deep cleaning practices. It also depends on where the food goes from the point of sampling. If it’s meant for immediate delivery to consumers in a ready-to-eat format, this implies a different standard then if the food moves on to a further processing operation where it is cooked or sanitized in some fashion.

One of the things we’ve found through experience is that very typically, the implementation of an ATP monitoring system leads to a cleaner facility. Most often, your numbers will start out pretty high and then fall over the initial few days and weeks of the implementation of the program.

It is important to remember that the standards you establish are relative to your facility. Consistency of results is almost as important as the actual result. This system helps you establish a cleaning procedure that produces predictable, consistent results.

With all of the above in mind, our experience has shown that customers in the high-risk category of food processing typically set a pass level of approximately 150, a marginal limit of 299 and a fail limit of anything above 300.

- Do cleaning chemicals react with the system?

The AccuPoint samplers contain a buffering solution that is designed to neutralize any potential effect of your sanitizer.

- I’ve heard that photo-multiplier-based ATP sanitation monitoring systems are more sensitive than photo-diode-based systems?

While it is true that a PMT is inherently more sensitive to light, an ATP
sanitation monitoring system that employs this technology is not inherently
more sensitive to ATP. There are two factors that determine the lower limit
of detection for ATP systems - the sensitivity to light of the luminometer
and the chemiluminescent reaction of the reagents in the sampler / swab that
produces that light. In other words, it is possible to balance the chemistry
to produce more light with an equivalent level of ATP to offset any gain
from a more sensitive luminometer. This is the approach we have taken with
the AccuPoint system.
     This balancing has resulted in a limit of detection of 2.6 fentomoles.
This means that our system can detect a very small amount of ATP on a
surface or in a water sample. This compares to 2.9 for the BioTrace system
and 3.0 for the Charm Lum-T.
     Any discussion concerning sensitivity also has to take into account
industry standard practices. When we state a limit of detection, this simply
means that our system can reliably detect this level of ATP. All of the
users we know are concentrating on cutoff levels ranging from 100 to 300 RLU as their  standard for pass/fail. A reading at the very low end, say 25, means the
surface or water sample is very clean. There is virtually no way in practice
to clean to an ATP system's level of detection. Unless you were to set your
pass / fail limits to 25, why does the sensitivity matter?
     We chose to utilize the Photo-Diode technology due to its reputation for
stability and low maintenance needs. We have a great deal of experience at
Neogen with PMT-based systems and are keenly aware of the service issues
these products pose. We saw this as  a major issue for us our customers who do not want to have to take the time out of their very
busy schedules to deal with a service problem.